[Name of Dental Practice] [How to use templates](https://www.psm.sdcep.org.uk/templates/how-to-use-templates/)

[Date]

# Digital Monitor Check Record

## Checks

[Describe the in-house checks of monitors carried out by the practice to ensure that digital image display is satisfactory for diagnostic use. The [Guidance Notes for Dental Practitioners on the Safe Use of X-ray Equipment](https://cgdent.uk/standards-guidance/) provide details of quality assurance checks for display screens. Consult with your Medical Physics Expert or Radiation Protection Adviser for advice on the tests and frequency if required.

e.g.

* Condition of screen (i.e. check that screen is clean, free from scratches or other damage and there are no display issues such as missing pixels or lines)
* Viewing conditions (i.e. check that there are no issues with room illumination or glare affecting visibility of screen)
* Screen tests (i.e. tests for low contrast detail, distance measurement, image distortion, regularity and consistency, carried out using a screen test pattern)]

## Record

| **Date** | **Monitor  ID/serial no.** | **Type of check** | **Checked by** | **Outcome** |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |