[Example: consult Manufacturer’s Instructions for specific maintenance and tests relating to your machine and adapt if required]

Sheet Number_____	        Month Commencing______________      Sheet End Date______________

Washer Disinfector Test Record

Washer Disinfector serial number____________________	Location__________________

Daily maintenance/tests - week commencing __________

| Day | Cycle number | Automatic control test* |  | Pass/Fail & Initials | Spray arms & nozzles free rotation | Door seals | Strainers and filters removed and cleaned | Sufficient Detergent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Temp (Deg C) | Min:sec |  |  |  |  |  |
| Mon |  |  |  |  |  |  |  |  |
| Tue |  |  |  |  |  |  |  |  |
| Wed |  |  |  |  |  |  |  |  |
| Thu |  |  |  |  |  |  |  |  |
| Fri |  |  |  |  |  |  |  |  |
| Sat |  |  |  |  |  |  |  |  |

Daily maintenance/tests - week commencing __________

| Day | Cycle number | Automatic control test* |  | Pass/Fail & Initials | Spray arms & nozzles free rotation | Door seals | Strainers and filters removed and cleaned | Sufficient Detergent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Temp (Deg C) | Min:sec |  |  |  |  |  |
| Mon |  |  |  |  |  |  |  |  |
| Tue |  |  |  |  |  |  |  |  |
| Wed |  |  |  |  |  |  |  |  |
| Thu |  |  |  |  |  |  |  |  |
| Fri |  |  |  |  |  |  |  |  |
| Sat |  |  |  |  |  |  |  |  |

Daily maintenance/tests - week commencing __________

| Day | Cycle number | Automatic control test* |  | Pass/Fail & Initials | Spray arms & nozzles free rotation | Door seals | Strainers and filters removed and cleaned | Sufficient Detergent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Temp (Deg C) | Min:sec |  |  |  |  |  |
| Mon |  |  |  |  |  |  |  |  |
| Tue |  |  |  |  |  |  |  |  |
| Wed |  |  |  |  |  |  |  |  |
| Thu |  |  |  |  |  |  |  |  |
| Fri |  |  |  |  |  |  |  |  |
| Sat |  |  |  |  |  |  |  |  |

*Note – it is recommended that at least once a week the ACT is done manually by directly observing and measuring the hold time at the correct temperature with a stopwatch. This can then be noted on the test sheet by placing (M) after pass/fail on the day it is conducted.

Washer Disinfector Test Record

Washer Disinfector serial number____________________	   Location__________________

Daily maintenance/tests - week commencing __________

| Day | Cycle number | Automatic control test* |  | Pass/Fail & Initials | Spray arms & nozzles free rotation | Door seals | Strainers and filters removed and cleaned | Sufficient Detergent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Temp (Deg C) | Min:sec |  |  |  |  |  |
| Mon |  |  |  |  |  |  |  |  |
| Tue |  |  |  |  |  |  |  |  |
| Wed |  |  |  |  |  |  |  |  |
| Thu |  |  |  |  |  |  |  |  |
| Fri |  |  |  |  |  |  |  |  |
| Sat |  |  |  |  |  |  |  |  |

Daily maintenance/tests - week commencing __________

| Day | Cycle number | Automatic control test* |  | Pass/Fail & Initials | Spray arms & nozzles free rotation | Door seals | Strainers and filters removed and cleaned | Sufficient Detergent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Temp (Deg C) | Min:sec |  |  |  |  |  |
| Mon |  |  |  |  |  |  |  |  |
| Tue |  |  |  |  |  |  |  |  |
| Wed |  |  |  |  |  |  |  |  |
| Thu |  |  |  |  |  |  |  |  |
| Fri |  |  |  |  |  |  |  |  |
| Sat |  |  |  |  |  |  |  |  |

*Note – it is recommended that at least once a week the ACT is done manually by directly observing and measuring the hold time at the correct temperature with a stopwatch. This can then be noted on the test sheet by placing (M) after pass/fail on the day it is conducted.

Additional Weekly Testing

| Date | Cycle number | Cleaning Efficacy/Protein Residue test | Pass/Fail | Signature |
| --- | --- | --- | --- | --- |

Next maintenance by Test Person due 				_____________

Next Cleaning efficacy by residual soil test due			_____________

Yearly maintenance and validation by Test Person due	_____________

Version history

| Date | Version No. | Summary of change(s) | Updated by | Next review date |
| --- | --- | --- | --- | --- |