## [As part of effective infection prevention and control and decontamination management, a procurement policy documents the practice’s approach to ensuring new items and equipment are of suitable quality and fit for purpose. This procurement policy could be incorporated within the practice’s general procurement policy, or within the infection prevention and control policy]

The responsibility for authorising the procurement of new equipment lies with [e.g. the partners] who will decide in consultation with the appropriate staff member(s).

## Re-usable Items

When assessing the procurement of re-usable items:

- design and manufacturer options are considered;

- price comparisons are made;

- the practice’s specific requirements are quantified and documented prior to purchase;

- the suitability of equipment for decontamination within the practice’s current regime and compliance the national guidance is assessed through communication with supplier/manufacturers’ representatives or other bodies who can provide this information;

- specifications for the device or equipment specialists are consulted where necessary (e.g. NHS National Services Scotland (ARHAI) for infection prevention and control, NHS Health Facilities Scotland for decontamination);

- approved CE/UKCA marking

- authorisation for procurement is given by [e.g. the partners].

## Decontamination Equipment

Prior to purchase, guidance is sought from experts in decontamination as to which equipment fulfils the criteria of the latest recommendations for infection prevention and control procedures. The National Procurement (NP) 143 framework “Decontamination Equipment and Associated Maintenance” should be used for decontamination equipment, and maintenance, when purchasing equipment and practices are advised to purchase items from the list of approved manufacturers.   The requirements for installation, testing and maintenance to fulfil technical requirements are clarified before purchase. The NHS Health Facilities Scotland decontamination technical enquiry service may be accessed (https://www.nss.nhs.scot/browse/health-facilities/decontamination-services ). Authorisation for procurement is given by [e.g. the partners].

## Single Use Items

- Special attention is given to items which are specified as single use. The use of single use disposable items is always considered as an alternative to re-usable items.

- Single use items should:

- be suitable for purpose;

- be shown to be a suitable alternative to re-usable;

- not compromise the quality of care;

- be cost effective.

Staff are made aware of the single use symbol and its implications. They are trained to check for this symbol on any newly items purchased and alert other staff members to this. Items that carry the single use symbol will be discarded appropriately (see Waste Management policy) after being used for a single treatment episode on an individual patient. Authorisation for the procurement of single use items will be given by [e.g. the partners].

## Sundry Items

Procurement of sundry items is based of the best and most cost effective materials available. The products purchased are reviewed [e.g. annually] as part of the practice [e.g. accounting system]. The [e.g. head nurse], following communication with [e.g. practice principal] is responsible for [ordering/authorising] day-to-day requirements.

Policy last updated:

Date of next review:

[Name and/or designation of responsible person] Signature:

The following staff have read and understood this policy [include all team members].

| Dental Team Member | Position | Signature | Date |
| --- | --- | --- | --- |